Meaning of symbols:

| Symbol | Description | Unit |
| --- | --- | --- |
| General parameters |  |  |
| t | Time of year (day of year, time of day) | - |
| R | Gas constant (8.314) | J/(mol K) |
| T | Absolute temperature in the hydrogen tank | K |
| Photovoltaic (PV) system |  |  |
| JS | Solar radiation at given time of year | W/m2 |
| A | Photovoltaic power plant area | m2 |
|  | Photovoltaic power plant efficiency, i.e. ratio between sun radiation (W/m2) and generated electric power (W/m2); assumed value is 0.1 (10 %), but it depends on photovoltaic panel type, age, mounting orientation and ambient temperature. | - |
| PPV | Photovoltaic power plant, generated electric power | kW |
| Consumers and grid |  |  |
| PC | Power of electrical consumers (all except the heat pump) | kW |
| PE | The difference between the generated electric power (PPV) and the consumed electric power (PC + PHP_E) | kW |
| PG_IN | Grid input power | kW |
| PG_OUT | Grid output power | kW |
| Electrolyser (EL) |  |  |
| PEL_IN | Electrolyser, input power | kW |
| PEL_E | Electrolyser, input electric power | kW |
| PEL_H2 | Electrolyser, output power of the generated hydrogen | kW |
| EL_H2 | Electrolyser, mass flow rate of the generated hydrogen | kg/s |
| PEL_MIN | Electrolyser minimum threshold operation power | kW |
| PEL_T | Electrolyser, thermal power due to losses | kW |
| EL | Electrolyser, energy efficiency (see Figure 8) |  |
| Fuel cell (FC) |  |  |
| PFC_H2 | Fuel cell, input power of consumed hydrogen | kW |
| PFC_E | Fuel cell, output electric power | kW |
| PFC_T | Fuel cell, thermal power due to losses | kW |
| PFC_OUT | Fuel cell output power | kW |
| FC_H2 | Fuel cell, mass flow rate of consumed hydrogen | kg/s |
| FC | Fuel cell, energy efficiency (see Figure 10) |  |
| Hydrogen (H2) storage |  |  |
| m | Mass of the hydrogen in the tank | kg |
| M | Molar mass of the hydrogen (2.01568 x 10-3) | kg |
| n | Number of moles of hydrogen in the hydrogen tank |  |
| EH2 | Energy of the hydrogen in the tank | kWh |
| EH2_MAX | Maximal energy of the hydrogen in the tank | kWh |
| EH2_MIN | Minimal energy of the hydrogen in the tank | kWh |
| EH2_INIT | Energy of the hydrogen in the tank, initial value | kWh |
| HHV | High heating value of hydrogen (39.39 kWh/kg) | kWh/kg |
| p | Pressure in the hydrogen tank | Pa |
| pmax | Maximal pressure in the hydrogen tank | Pa |
| V | Geometric volume | m3 |
| VT | Geometric volume of the hydrogen tank | m3 |
| TF | Tank full |  |
| TE | Tank empty |  |
| Battery (B) |  |  |
| PB_IN | Battery charging power | kW |
| PB_OUT | Battery reduced discharging power | kW |
| PB_IN_MAX | Battery maximum charging power | kW |
| PB_OUT_MAX | Battery maximum discharging power | kW |
| PB_IN_L | Battery charging losses power | kW |
| PB_OUT_L | Battery discharging losses power | kW |
| PB_IN_C | Battery reduced charging power | kW |
| PB_OUT_D | Battery discharging power | kW |
| EB | Energy of the battery | kWh |
| EB_INIT | Energy of the battery, initial value | kWh |
| C | Battery charging efficiency (typically 95 %) |  |
| D | Battery discharging efficiency (typically 95%) |  |
| EB_MAX | Battery capacity | kWh |
| EB_MIN | Battery lower defined capacity | kWh |
| BF | Battery full |  |
| BE | Battery empty |  |
| Heat pump (HP) and thermal storage |  |  |
| PHP_E | Heat pump, consumed electric power | kW |
| PHP_T | Heat pump, generated thermal power | kW |
| PHP_T_min | Heat pump, minimum generated thermal power | kW |
| PHP_T_max | Heat pump, maximum generated thermal power | kW |
| PHP_T_DEM | Demanded thermal power of the heat pump | kW |
| PT | Total generated thermal power, i.e. heat pump + fuel cell losses | kW |
| PT_DEM | Total demanded heating power | kW |
| CoPHP | Coefficient of Performance of heat pump (ratio between thermal and electric power), assumed 3.0 |  |
| CTRL | Heat storage control for heat pump |  |
| EST_SET | Stored heat in thermal storage - setpoint | kWh |
| EST_ACT | Stored heat in thermal storage - actual | kWh |
| e | Stored heat - control error | kWh |
| emin | Control error min., corresponds to the min. thermal power of the heat pump | kWh |
| emax | Control error max., corresponds to the max. thermal power of the heat pump | kWh |
| Economic and technical parameters |  |  |
| EPPV | Price component, PV power plant | EUR |
| EPBATT | Price component, battery | EUR |
| EPEL | Price component, electrolyser | EUR |
| EPFC | Price component, fuel cell | EUR |
| EPH2_STOR | Price component, hydrogen storage | EUR |
| tL_X | Expected lifetime of particular element | year |
| Abbreviations |  |  |
| PV | Photovoltaic |  |
| BATT | Battery |  |
| EL | Electrolyser |  |
| FC | Fuel cell |  |
| H2_STOR | Hydrogen storage |  |
| CONS | Others consumers |  |
| HP | Heat pump |  |